|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sampled** | 4/08/2017 |  | **Licensee:** | Maitland City Council | |
| **Published** | 15/08/2017 |  | **EPL #** | 6116 | |
| **Obtained** | 14/08/2017 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 0.5 | NA | Volume % |
|  | Monthly | Oxygen | 20,51 | NA | Volume % |
|  | Monthly | Carbon Monoxide | ND | NA | Volume % |
|  | Monthly | Methane | 0.47 | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 78.5 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 0.35 | NA | Volume % |
|  | Monthly | Oxygen | 20.76 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|  | Monthly | Methane | 0.37 | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 78.5 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.19 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 0.06 | NA | Volume % |
|  | Monthly | Oxygen | 20.97 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|  | Monthly | Methane | 0.02 | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 79 | NA | Volume % |
|  | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 17.96 | NA | Volume % |
|  | Monthly | Oxygen | 9.26 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|  | Monthly | Methane | 36.7 | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 36.1 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 1.37 | NA | Volume % |
|  | Monthly | Oxygen | 19.2 | NA | Volume % |
|  | Monthly | Carbon Monoxide | ND | NA | Volume % |
|  | Monthly | Methane | 0.02 | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 79.4 | NA | Volume % |
|  | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 0.05 | NA | Volume % |
|  | Monthly | Oxygen | 20.47 | NA | Volume % |
|  | Monthly | Carbon Monoxide | ND | NA | Volume % |
|  | Monthly | Methane | ND | NA | Volume % |
|  | Monthly | Hydrogen | ND | NA | Volume % |
|  | Monthly | Nitrogen | 79.5 | NA | Volume % |
|  | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| \* ND = non-detection NC = not calculated | | |  |  |  |