|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 3/02/2017 |   | **Licensee:** | Maitland City Council |
| **Published** | 13/03/2017 |  | **EPL #** | 6116 |
| **Obtained** | 7/02/2017 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 0.07 | NA | Volume % |
|   | Monthly | Oxygen | 20.94 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 0.02 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 0.28 | NA | Volume % |
|   | Monthly | Oxygen | 20.8 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 0.11 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 78.8 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.3 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 0.05 | NA | Volume % |
|   | Monthly | Oxygen | 20.92 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | ND | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | 27.2 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 6.76 | NA | Volume % |
|   | Monthly | Oxygen | 16.54 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 13.14 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 63.6 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 0.05 | NA | Volume % |
|   | Monthly | Oxygen | 20.91 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | ND | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 0.64 | NA | Volume % |
|   | Monthly | Oxygen | 20.38 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0007 | NA | Volume % |
|   | Monthly | Methane | ND | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.14 | NA | deff. Ratio |
| \* ND = non-detection NC = not calculated |  |  |  |