|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 5/07/2012 |   | **Licensee:** | Maitland City Council |
| **Published** | 20/07/2012 |  | **EPL #** | 6116 |
| **Obtained** | 9/07/2012 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 6.55 | NA | Volume % |
|   | Monthly | Oxygen | 17.1 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | 10.97 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 65.4 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 7.59 | NA | Volume % |
|   | Monthly | Oxygen | 16.63 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | 13 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 62.8 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 21.9 | NA | Volume % |
|   | Monthly | Oxygen | 7.16 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 42.1 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 28.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 29.4 | NA | Volume % |
|   | Monthly | Oxygen | 2.4 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | 58.9 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 9.3 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.23 | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 10.07 | NA | Volume % |
|   | Monthly | Oxygen | 13 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 5 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 71.9 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 11.41 | NA | Volume % |
|   | Monthly | Oxygen | 12.12 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 4.24 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 72.2 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |