|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 6/08/2012 |   | **Licensee:** | Maitland City Council |
| **Published** | 7/08/2012 |  | **EPL #** | 6116 |
| **Obtained** |   10/08/2012 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 22.1 | NA | Volume % |
|   | Monthly | Oxygen | 9 | NA | Volume % |
|   | Monthly | Carbon Monoxide | nd | NA | Volume % |
|   | Monthly | Methane | 32 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 36.3 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.93 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 14.63 | NA | Volume % |
|   | Monthly | Oxygen | 12.61 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 23.9 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 48.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 21.8 | NA | Volume % |
|   | Monthly | Oxygen | 7.48 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 42.3 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 28.4 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.41 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 29.3 | NA | Volume % |
|   | Monthly | Oxygen | 2.73 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | 57.9 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0015 | NA | Volume % |
|   | Monthly | Nitrogen | 26 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 26.2 | NA | Volume % |
|   | Monthly | Oxygen | 5.96 | NA | Volume % |
|   | Monthly | Carbon Monoxide | nd | NA | Volume % |
|   | Monthly | Methane | 41.9 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0015 | NA | Volume % |
|   | Monthly | Nitrogen | 26 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 23.6 | NA | Volume % |
|   | Monthly | Oxygen | 9.37 | NA | Volume % |
|   | Monthly | Carbon Monoxide | nd | NA | Volume % |
|   | Monthly | Methane | 22.3 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 44.7 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |