|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 20/09/2012 |   | **Licensee:** | Maitland City Council |
| **Published** | 12/10/2012 |  | **EPL #** | 6116 |
| **Obtained** | 12/10/2012 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 18.6 | NA | Volume % |
|   | Monthly | Oxygen | 10.96 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0 | NA | Volume % |
|   | Monthly | Methane | 26.3 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 44.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 12.08 | NA | Volume % |
|   | Monthly | Oxygen | 14.06 | NA | Volume % |
|   | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|   | Monthly | Methane | 20.3 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 53.6 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 22.6 | NA | Volume % |
|   | Monthly | Oxygen | 6.53 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0005 | NA | Volume % |
|   | Monthly | Methane | 45.5 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 25.3 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.28 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 26.9 | NA | Volume % |
|   | Monthly | Oxygen | 3.88 | NA | Volume % |
|   | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|   | Monthly | Methane | 54.5 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 14.7 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 23.6 | NA | Volume % |
|   | Monthly | Oxygen | 6.71 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0008 | NA | Volume % |
|   | Monthly | Methane | 37.2 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 32.5 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.04 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 25.6 | NA | Volume % |
|   | Monthly | Oxygen | 3.51 | NA | Volume % |
|   | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|   | Monthly | Methane | 17.36 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 53.5 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |