|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sampled** | 16/01/2013 |  | **Licensee:** | Maitland City Council | |
| **Published** | 22/01/2013 |  | **EPL #** | 6116 | |
| **Obtained** | 21/01/2013 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 17.51 | NA | Volume % |
|  | Monthly | Oxygen | 12.04 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|  | Monthly | Methane | 22.1 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 48.3 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.05 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 18.5 | NA | Volume % |
|  | Monthly | Oxygen | 10.96 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | 27.2 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 43.4 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 27.6 | NA | Volume % |
|  | Monthly | Oxygen | 4 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | 52 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 16.4 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 29.7 | NA | Volume % |
|  | Monthly | Oxygen | 2.81 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | 56.8 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 10.6 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 29.3 | NA | Volume % |
|  | Monthly | Oxygen | 3.66 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | 42.9 | NA | Volume % |
|  | Monthly | Hydrogen | 0.002 | NA | Volume % |
|  | Monthly | Nitrogen | 24.1 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 9.52 | NA | Volume % |
|  | Monthly | Oxygen | 11.8 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|  | Monthly | Methane | 0.19 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.5 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |