|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 5/04/2013 |   | **Licensee:** | Maitland City Council |
| **Published** | 10/04/2013 |  | **EPL #** | 6116 |
| **Obtained** | 9/04/2013 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 0.16 | NA | Volume % |
|   | Monthly | Oxygen | 20.81 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0006 | NA | Volume % |
|   | Monthly | Methane | 0.07 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.56 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 0.46 | NA | Volume % |
|   | Monthly | Oxygen | 20.63 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 0.22 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.7 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.09 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 0.08 | NA | Volume % |
|   | Monthly | Oxygen | 20.84 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | \*nd | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.12 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 19.34 | NA | Volume % |
|   | Monthly | Oxygen | 7.56 | NA | Volume % |
|   | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|   | Monthly | Methane | 31.8 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 41.3 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 0.96 | NA | Volume % |
|   | Monthly | Oxygen | 20.1 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 0.02 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.04 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 3.26 | NA | Volume % |
|   | Monthly | Oxygen | 17.98 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | \*nd | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.8 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |