|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 10/05/2013 |   | **Licensee:** | Maitland City Council |
| **Published** | 22/05/2013 |  | **EPL #** | 6116 |
| **Obtained** | 22/05/2013 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 2.61 | NA | Volume % |
|   | Monthly | Oxygen | 18.41 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0007 | NA | Volume % |
|   | Monthly | Methane | 1.03 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 77.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 1.15 | NA | Volume % |
|   | Monthly | Oxygen | 19.84 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0006 | NA | Volume % |
|   | Monthly | Methane | 0.53 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.5 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 1.13 | NA | Volume % |
|   | Monthly | Oxygen | 19.98 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0008 | NA | Volume % |
|   | Monthly | Methane | 1.46 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 77.4 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.15 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 16.39 | NA | Volume % |
|   | Monthly | Oxygen | 8.85 | NA | Volume % |
|   | Monthly | Carbon Monoxide | nd | NA | Volume % |
|   | Monthly | Methane | 24.5 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 50.2 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 1.63 | NA | Volume % |
|   | Monthly | Oxygen | 19.24 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | 0.03 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 4.02 | NA | Volume % |
|   | Monthly | Oxygen | 16.71 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | nd | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.3 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |