|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 3/06/2013 |   | **Licensee:** | Maitland City Council |
| **Published** | 12/06/2013 |  | **EPL #** | 6116 |
| **Obtained** | 4/06/2013 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 10.04 | NA | Volume % |
|   | Monthly | Oxygen | 15.21 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 12.95 | NA | Volume % |
|   | Monthly | Hydrogen | 0.001 | NA | Volume % |
|   | Monthly | Nitrogen | 61.8 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 5.17 | NA | Volume % |
|   | Monthly | Oxygen | 17.15 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 7.91 | NA | Volume % |
|   | Monthly | Hydrogen | 0.001 | NA | Volume % |
|   | Monthly | Nitrogen | 69.8 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 12.87 | NA | Volume % |
|   | Monthly | Oxygen | 9.45 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | 12.34 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0115 | NA | Volume % |
|   | Monthly | Nitrogen | 65.3 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 14.88 | NA | Volume % |
|   | Monthly | Oxygen | 10.47 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 21.5 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 53.2 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 3.08 | NA | Volume % |
|   | Monthly | Oxygen | 18.84 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 0.09 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 78 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 0.77 | NA | Volume % |
|   | Monthly | Oxygen | 20.32 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 0.24 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.7 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |