|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sampled | 5/07/2013 |  | Licensee: | Maitland City Council |
| Published | 12/07/2013 |  | EPL # | 6116 |  |
| Obtained | 12/07/2013 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 8.12 | NA | Volume % |
|   | Monthly | Oxygen | 16.22 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 9.52 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 66.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 3.38 | NA | Volume % |
|   | Monthly | Oxygen | 18.18 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 2.9 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0005 | NA | Volume % |
|   | Monthly | Nitrogen | 75.5 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 1.84 | NA | Volume % |
|   | Monthly | Oxygen | 20.03 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|   | Monthly | Methane | 0.98 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 77.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 21.9 | NA | Volume % |
|   | Monthly | Oxygen | 7.79 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 39.4 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 30.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.07 | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 1.78 | NA | Volume % |
|   | Monthly | Oxygen | 19.31 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | 0.02 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 78.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 0.27 | NA | Volume % |
|   | Monthly | Oxygen | 19.8 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | 0.07 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |