|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sampled** | 2/08/2013 |  | **Licensee:** | Maitland City Council | |
| **Published** | 7/08/2013 |  | **EPL #** | 6116 | |
| **Obtained** | 7/08/2013 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 1.32 | NA | Volume % |
|  | Monthly | Oxygen | 19.78 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0006 | NA | Volume % |
|  | Monthly | Methane | 0.88 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.07 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 2.52 | NA | Volume % |
|  | Monthly | Oxygen | 17.96 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|  | Monthly | Methane | 0.94 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.6 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 3.01 | NA | Volume % |
|  | Monthly | Oxygen | 18.5 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|  | Monthly | Methane | 4.1 | NA | Volume % |
|  | Monthly | Hydrogen | 0.0005 | NA | Volume % |
|  | Monthly | Nitrogen | 74.4 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 15.45 | NA | Volume % |
|  | Monthly | Oxygen | 5.54 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0002 | NA | Volume % |
|  | Monthly | Methane | 13.99 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 65 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 6.63 | NA | Volume % |
|  | Monthly | Oxygen | 12.02 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0005 | NA | Volume % |
|  | Monthly | Methane | 0.12 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 81.2 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 6.73 | NA | Volume % |
|  | Monthly | Oxygen | 9.4 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|  | Monthly | Methane | \*nd | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 83.9 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |