|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sampled** | 11/10/2013 |  | **Licensee:** | Maitland City Council | |
| **Published** | 19/11/2013 |  | **EPL #** | 6116 | |
| **Obtained** | 14/11/2013 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 0.81 | NA | Volume % |
|  | Monthly | Oxygen | 20.66 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0007 | NA | Volume % |
|  | Monthly | Methane | 0.52 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 7.06 | NA | Volume % |
|  | Monthly | Oxygen | 17.22 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|  | Monthly | Methane | 8.47 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 67.2 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.06 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 9.63 | NA | Volume % |
|  | Monthly | Oxygen | 12.84 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0005 | NA | Volume % |
|  | Monthly | Methane | 10.22 | NA | Volume % |
|  | Monthly | Hydrogen | 0.011 | NA | Volume % |
|  | Monthly | Nitrogen | 67.3 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 26.2 | NA | Volume % |
|  | Monthly | Oxygen | 4.3 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | 47.9 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 21.6 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 13.74 | NA | Volume % |
|  | Monthly | Oxygen | 6 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|  | Monthly | Methane | 1.64 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.6 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 2.48 | NA | Volume % |
|  | Monthly | Oxygen | 18.69 | NA | Volume % |
|  | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|  | Monthly | Methane | \*nd | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.8 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |