|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 8/11/2013 |   | **Licensee:** | Maitland City Council |
| **Published** | 26/11/2013 |  | **EPL #** | 6116 |
| **Obtained** | 25/11/2013 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 7.98 | NA | Volume % |
|   | Monthly | Oxygen | 16.95 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0004 | NA | Volume % |
|   | Monthly | Methane | 9.47 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 65.6 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.1 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 10.91 | NA | Volume % |
|   | Monthly | Oxygen | 15.12 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 13.44 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0005 | NA | Volume % |
|   | Monthly | Nitrogen | 60.5 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 12.81 | NA | Volume % |
|   | Monthly | Oxygen | 10.93 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 19.64 | NA | Volume % |
|   | Monthly | Hydrogen | 0.007 | NA | Volume % |
|   | Monthly | Nitrogen | 56.6 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.01 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 24.2 | NA | Volume % |
|   | Monthly | Oxygen | 5.58 | NA | Volume % |
|   | Monthly | Carbon Monoxide | \*nd | NA | Volume % |
|   | Monthly | Methane | 46.5 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 23.7 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 12.01 | NA | Volume % |
|   | Monthly | Oxygen | 8.49 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0003 | NA | Volume % |
|   | Monthly | Methane | 0.43 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.1 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 3.01 | NA | Volume % |
|   | Monthly | Oxygen | 17.68 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0005 | NA | Volume % |
|   | Monthly | Methane | 0.02 | NA | Volume % |
|   | Monthly | Hydrogen | \*nd | NA | Volume % |
|   | Monthly | Nitrogen | 79.3 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.02 | NA | deff. Ratio |